## Component Supplier
Component_ID | Component | Description | Supplier | Supplier Part No | Supplier Description | Unit | Packing QTY | Unit Cost £ | Category

## Theben
Component_ID | Component | Description | Supplier | Supplier Part No | Supplier Description | Unit | Packing QTY | Unit Cost £ | Category
Theben.0001 | THB.HTS.BC | THEBEN HTS Bus coupler EIB | Ivory Egg | 907 0 524 |  | 1 | 1 | 74.98
Theben.0002 | THB.160mA.PSU | Theben 160mA PSU (105mm) | Ivory Egg | 907 0 701 | THEBEN Power supply KNX 160 mA | 1 | 1 | 106.62
Theben.0003 | THB.320mA.PSU | Theben 320mA PSU (105mm) | Ivory Egg | 907 0 699 | THEBEN Power supply KNX 320 mA | 1 | 1 | 160.96
Theben.0004 | THB.640mA.PSU | Theben 640mA PSU (105mm) | Ivory Egg | 907 0 364 | THEBEN Power supply KNX 640 mA | 1 | 1 | 209.94
Theben.0005 | THB.LC | Theben Line Coupler | Ivory Egg | 907 0 398 | THEBEN KNX Line Coupler | 1 | 1 | 303.12
Theben.0006 | THB.331 | Theben Sphinx 331 - 1 Channel Motion Sensnsor (Ceiling) | Ivory Egg | 107 9 211 | THEBEN SPHINX 331 Motion Sensor | 1 | 1 | 92.72
Theben.0007 | THB.332 | Theben Sphinx 332 - 2 Channel Motion Sensnsor (Ceiling) | Ivory Egg | 107 9 212 | THEBEN SPHINX 332 KNX Motion detector including constant light control | 1 | 1 | 132.97
Theben.0008 | THB.PL.360.01 | Theben PresenceLight 360B - Multifunction Detector (WHITE) Ceiling | Ivory Egg | 200 9 000 | THEBEN PresenceLight 360B KNX Presence detector | 1 | 1 | 120.72
Theben.0009 | THB.PL.360.08 | Theben PresenceLight 360B - Multifunction Detector (BLACK) Ceiling | Ivory Egg | 200 9 812 | THEBEN PresenceLight 360B KNX Presence detector | 1 | 1
Theben.0010 | THB.PL.360.98 | Theben PresenceLight 360B - Multifunction Detector (SILVER) Ceiling | Ivory Egg | 201 9 813 | THEBEN PresenceLight 360B KNX Presence detector | 1 | 1
Theben.0011 | THB.PL.180.01 | Theben PresenceLight 180 - Multifunction Detector (WHITE) Wall) | Ivory Egg | 200 9 000 | THEBEN PresenceLight 180 KNX Presence detector | 1 | 1 | 120.72
Theben.0012 | THB.PL.180.08 | Theben PresenceLight 180 - Multifunction Detector (BLACK) Wall) | Ivory Egg | 200 9 815 | THEBEN PresenceLight 180 KNX Presence detector | 1 | 1
Theben.0013 | THB.PL.180.98 | Theben PresenceLight 180 - Multifunction Detector (SILVER) Wall) | Ivory Egg | 201 9 816 | THEBEN PresenceLight 180 KNX Presence detector | 1 | 1
Theben.0014 | THB.CO.01 | Theben Compact Office - Multifunction Detector (WHITE) Ceiling | Ivory Egg | 201 9 200 | THEBEN COMPACT OFFICE EIB Presence detector | 1 | 1 | 157.46
Theben.0015 | THB.CO.08 | Theben Compact Office - Multifunction Detector (BLACK) Ceiling | Ivory Egg | 201 9 800 | THEBEN COMPACT OFFICE EIB Presence detector | 1 | 1
Theben.0016 | THB.CO.98 | Theben Compact Office - Multifunction Detector (SILVER) Ceiling | Ivory Egg | 202 9 801 | THEBEN COMPACT OFFICE EIB Presence detector | 1 | 1
Theben.0017 | THB.CP.01 | Theben Compact Passge - Multifunction Detector (WHITE) Ceiling | Ivory Egg | 201 9 290 | THEBEN COMPACT PASSAGE KNX Presence detector | 1 | 1 | 214.86
Theben.0018 | THB.CP.08 | Theben Compact Passge - Multifunction Detector (BLACK) Ceiling | Ivory Egg | 201 9 803 | THEBEN COMPACT PASSAGE KNX Presence detector | 1 | 1
Theben.0019 | THB.CP.98 | Theben Compact Passge - Multifunction Detector (SILVER) Ceiling | Ivory Egg | 202 9 804 | THEBEN COMPACT PASSAGE KNX Presence detector | 1 | 1
Theben.0020 | THB.2CH.BI | Theben TA2 - 2 Channel Binary Input | Ivory Egg | 496 9 202 | THEBEN TA2 Push Button Interface KNX/EIB | 1 | 1 | 31.23
Theben.0021 | THB.4CH.BI | Theben TA4 - 2 Channel Binary Input | Ivory Egg | 496 9 204 | THEBEN TA4 Push Button Interface KNX/EIB | 1 | 1 | 54.2
Theben.0022 | THB.6CH.BI | Theben TA6 - 2 Channel Binary Input | Ivory Egg | 496 9 206 | THEBEN TA6 Push Button Interface KNX/EIB | 1 | 1 | 74.25
Theben.0023 | THB.LUX+TMP | Theben LU 131 EIB - External LUX & Temperature Sensor | Ivory Egg | 131 9 201 | THEBEN LU 131 EIB | 1 | 1 | 213.59
Theben.0024 | THB.LUX | Theben LU 133 EIB - External LUX Sensor | Ivory Egg | 131 9 201 | THEBEN LU 133 EIB | 1 | 1 | 109.55
Theben.0025 | THB.8CH.BO.MM.1 | Theben RMG 8 S KNX - 8 Channel Actuator (Binary Output) Master Module | Ivory Egg | 493 0 220 | THEBEN RMG 8 S KNX | 1 | 1 | 285.52
Theben.0026 | THB.8CH.BO.SM.1 | Theben RME 8 S KNX - 8 Channel Actuator (Binary Output) Slave Module | Ivory Egg | 493 0 225 | THEBEN RME 8 S KNX | 1 | 1 | 199.87
Theben.0027 | THB.8CH.BO.MM.2 | Theben RMG 8 KNX - 4/8 Channel Actuator (Binary Output) Master Module | Ivory Egg | 493 0 220 | THEBEN RMG 8 KNX | 1 | 1 | 278.09
Theben.0028 | THB.8CH.BO.SM.2 | Theben RME 8 KNX - 4/8 Channel Actuator (Binary Output) Slave Module | Ivory Egg | 493 0 225 | THEBEN RME 8 KNX | 1 | 1 | 157.57

## Gira
Component_ID | Component | Description | Supplier | Supplier Part No | Supplier Description | Unit | Packing QTY | Unit Cost £ | Category
|  | KNX Cable Green (Low Smoke Zero Halogen) 100m |  | 31000502H-100 |  |  |  | 62.65
|  | GIRA EIB area/line coupler - Inst |  | GIR 1023 00 |  |  |  | 314.6
|  | GIRA USB Data interface REG - Ins |  | GIR 1080 00 |  |  |  | 202.83
|  | GIRA Power supply 320mA with Choke |  | GIR 1086 00 |  |  |  | 203.28
|  | ZENNIO KNX Z41 Colour Capacitive Touch Panel - Black |  | ZN1VI-TP41C-A |  | 1 | 1 | 297.7
|  | KAISER Backbox - Hollow Wall single 47mm |  | 9063-01 |  | 1 | 1 | 0.9

## KNX
Component_ID | Component | Description | Supplier | Supplier Part No | Supplier Description | Unit | Packing QTY | Unit Cost £ | Category
KNX.0001 | KNX.2xTP.LSOH.17 | KNX Cable Green (Low Smoke Zero Halogen) 100m | Ivory Egg | 31000502H-100 | KNX Cable 2-Pair 100m | 1 | 100 | 62.65