## Component Supplier
Component_ID | Component | Description | Supplier | Supplier Part No | Supplier Description | Unit | Packing QTY | Unit Cost £ | Category

## DIN Rail Terminals
Component_ID | Component | Description | Supplier | Supplier Part No | Supplier Description | Unit | Packing QTY | Unit Cost £ | Category
WAGO.TERM.001 | AN.249-116 | End Stop (LIGHT GREY) - WAGO | Parmley Graham | 249-116 | Screwless end stop Screwless end stop 6 mm wide 6 mm wide | 1 | 25
WAGO.TERM.002 | AN.793-501 | Clip On Marker (WHITE) - WAGO | Parmley Graham | 793-501 | WMB Multiple marking system plain for terminal block width 5 - 17.5 mm | 1 | 100
WAGO.TERM.003 | AN.870-831 | 2.5mm² 24A 4-Pole Connector (GREY) - WAGO | Parmley Graham | 870-831 | 4-conductor through terminal block | 1 | 100
WAGO.TERM.004 | AN.870-402 | 18A 2-Pole Jumper (LIGHT GREY) - WAGO | Parmley Graham | 870-402 | Push-in type jumper bar insulated 2-way Nominal current 18 A | 1 | 25
WAGO.TERM.005 | AN.870-943 | End Plate for 870 Series (GREY) - WAGO | Parmley Graham | 870-943 | End and intermediate plate 1 mm thick | 1 | 25
WAGO.TERM.006 | AN.2002-1201 | 2.5mm² 32A 2-Pole Connector (GREY) - WAGO | Parmley Graham | 2002-1201 | 2-conductor through terminal block suitable for Ex e II applications | 1 | 100
WAGO.TERM.007 | AN.2002-402 | 25A 2-Pole Jumper (LIGHT GREY) - WAGO | Parmley Graham | 2002-402 | Push-in type jumper bar insulated 2-way Nominal current 25 A | 1 | 25
WAGO.TERM.008 | AN.2002-1291 | End Plate for 2002 Series (GREY) - WAGO | Parmley Graham | 2002-1291 | End Plate | 1 | 25
WAGO.TERM.009 | AN.2006-1201 | 6.0mm² 57A 2-Pole Connector (GREY) - WAGO | Parmley Graham | 2006-1201 | 2-conductor through terminal block suitable for Ex e II applications | 1 | 50 | 0.84
WAGO.TERM.010 | AN.2006-402 | 41A 2-Pole Jumper (LIGHT GREY) - WAGO | Parmley Graham | 2006-402 | Push-in type jumper bar insulated 2-way Nominal current 41 A | 1 | 25 | 0.24
WAGO.TERM.011 | AN.2006-1291 | End Plate for 2006 Series (GREY) - WAGO | Parmley Graham | 2006-1291 | End and intermediate plate 1 mm thick | 1 | 25 | 0.24

## I-O
Component_ID | Component | Description | Supplier | Supplier Part No | Supplier Description | Unit | Packing QTY | Unit Cost £ | Category
WAGO.IO.001 | AN.750-400 | 2-Channel Digital Input Module 24V DC | Parmley Graham | 750-400 | 2-channel digital input module DC 24 V 3.0 ms high-side switching 2- to 4-conductor connection | 1 | 1 | 17.74
WAGO.IO.002 | AN.750-402 | 4-Channel Digital Input Module 24V DC | Parmley Graham | 750-402 | 4-channel digital input module DC 24 V 3.0 ms high-side switching 2- to 3-conductor connection | 1 | 1 | 25.03
WAGO.IO.003 | AN.750-430 | 8-Channel Digital Input Module 24V DC | Parmley Graham | 750-430 | 8-channel digital input module DC 24 V 3.0 ms high-side switching 1-conductor connection | 1 | 1 | 41.5
WAGO.IO.004 | AN.750-1400 | 16-Channel Digital Input Module 24V DC | Parmley Graham | 750-1400 | 16 - channel 24 V DC, 3ms Input terminal - high sided switching (PNP) - IDC cable | 1 | 1 | 88.2
WAGO.IO.005 | AN.750-501 | 2-Channel Digital Output Module 24V DC 0.5A | Parmley Graham | 750-501 | 2-channel digital output module DC 24 V 0.5 A high-side switching short-circuit protected | 1 | 1 | 24.6
WAGO.IO.006 | AN.750-502 | 2-Channel Digital Output Module 24V DC 2.0A | Parmley Graham | 750-502 | 2-channel digital output module DC 24 V 2.0 A high-side switching short-circuit protected | 1 | 1 | 39.71
WAGO.IO.007 | AN.750-504 | 4-Channel Digital Output Module 24V DC 0.5A | Parmley Graham | 750-504 | 4-channel digital output module DC 24 V 0.5 A high-side switching short-circuit protected | 1 | 1 | 28.29
WAGO.IO.008 | AN.750-530 | 8-Channel Digital Output Module 24V DC 0.5A | Parmley Graham | 750-530 | 8-channel digital output module DC 24 V 0.5 A high-side switching short-circuit protected | 1 | 1 | 48.61
WAGO.IO.009 | AN.753-646 | KNX/TP1-module (KNX/EIB) Ethernet Controller | Parmley Graham | 753-646 | KNX/EIB/TP1 module | 1 | 1 | 216.6
WAGO.IO.010 | AN.750-641 | DALI/DSI - Master Gateway Terminal - Lighting controller | Parmley Graham | 750-641 | DALI/DSI master module | 1 | 1 | 145.7
WAGO.IO.011 | AN.750-600 | End Module | Parmley Graham | 750-600 | End module | 1 | 1 | 10.07
WAGO.IO.012 | AN.750-652 | RS 232/ RS 485 Configurable Serial Interface | Parmley Graham | 750-652 | Serial interface RS-232 C / RS-485 configurable | 1 | 1 | 232.6
WAGO.IO.013 | AN.750-642 | enOcean - Master Gateway Terminal (up to 300 devices) | Parmley Graham | 750-642 | Radio receiver module | 1 | 1 | 255
WAGO.IO.014 | AN.750-1504 | 16-Channel Digital Output Module 24V DC | Parmley Graham | 750-1504 | 16-channel digital output module DC 24 V high-side switching | 1 | 1 | 87.13
WAGO.IO.015 | AN.753-647 | DALI/DSI - Master Gateway Terminal - Lighting controller | Parmley Graham | 753-647 | DALI Multi-Master module | 1 | 1 | 178.57
WAGO.IO.016 | AN.758-910 | enOcean - external Magnetic Ariel | Parmley Graham | 758-910 | Magnetic foot antenna, GSM 900/1800 External antenna | 1 | 1 | 22.14
WAGO.IO.017 | AN.787-1001 | 12V DV 2.0A Compact-Power supply unit, switched-mode (DALI) | Parmley Graham | 787-1001 | Primary switch mode EPSITRON® COMPACT Power supplies Output voltage DC 12 V 2 A | 1 | 1 | 47.63
WAGO.IO.018 | AN.787-1001/1001-018 | Ferrite Ring | Parmley Graham | 787-1001/1001-018 | Ferrite core for Compact-Power supply 787-1001 | 1 | 1 | 8.94
WAGO.IO.019 | AN.787-1002 | 24V DC 1.3A Compact-Power Supply Unit, Switched-mode | Parmley Graham | 787-1002 | Primary switch mode EPSITRON® COMPACT Power supplies Output voltage DC 24 V 1.3 A | 1 | 1 | 40.49
WAGO.IO.020 | AN.787-1007 | 18V DV 1.1A Compact-Power supply unit, switched-mode (DALI) | Parmley Graham | 787-1007 | Primary switch mode power supplies for 753-647 DALI Multi-Master Module DC 18 V / 1.1 A | 1 | 1 | 94.44
WAGO.IO.021 | AN.788-304 | 16A 230V 1xCO 24V DC Coil - WAGO | Parmley Graham | 788-304 | Relay socket with relay and status indicator each 1 changeover contact (1 u) DC 24 V | 1 | 1 | 5.32
WAGO.IO.022 | AN.788-508 | 16A 230V 1xCO 230V AC Coil - WAGO | Parmley Graham | 788-508 | Relay socket with relay and status indicator each 1 changeover contact (1 u) AC 230 V | 1 | 1 | 6.98